Project Quality Checklist

Yes               No               N/A

- All work carried out as Specified                                        □                   □                   □

- All controls set to temp required                                         □                   □                   □

- Ductwork/flashing sealed from weather                             □                   □                    □

- Drains fitted and tested                                                        □                  □                    □

- Air grills correctly fitted and balanced                                □                  □                    □

- Outdoor A/C units mounted correctly                                 □                  □                    □

- Exhaust fans operation                                                        □                  □                    □

- Pipe work supported and pressure tested                            □                  □                    □

- All systems commissioned and data logged                       □                  □                    □

- O&M manuals completed                                                   □                  □                    □

Checklist Completed by………………………..      Signed…………………………